## 10F_UPS_20250912
timestamp | ip | status | error | battery_status | battery_status_code | time_on_battery | minutes_remaining | charge_remaining | voltage | current | temperature | output_source | output_voltage | output_current | output_power | output_load | input_voltage | input_frequency | present_alarms | device_name
2025-09-12T11:16:11.331701 | 172.21.2.13 | online |  | batteryNormal | 2 | 0 | 57 | 100 | 272.5 | 0 | 27 | 3 | 220 | 194 | 4360 | 29 | 221 | 599 | 0 | 10F_UPS
2025-09-12T11:17:11.489276 | 172.21.2.13 | online |  | batteryNormal | 2 | 0 | 57 | 100 | 272.5 | 0 | 27 | 3 | 220 | 194 | 4423 | 29 | 221 | 599 | 0 | 10F_UPS
2025-09-12T11:18:11.664280 | 172.21.2.13 | online |  | batteryNormal | 2 | 0 | 57 | 100 | 272.5 | 0 | 27 | 3 | 220 | 194 | 4355 | 29 | 221 | 599 | 0 | 10F_UPS
2025-09-12T11:19:11.929657 | 172.21.2.13 | online |  | batteryNormal | 2 | 0 | 57 | 100 | 272.5 | 0 | 27 | 3 | 220 | 191 | 0 | 29 | 221 | 599 | 0 | 10F_UPS
2025-09-12T11:20:12.100384 | 172.21.2.13 | online |  | batteryNormal | 2 | 0 | 57 | 100 | 272.5 | 0 | 27 | 3 | 220 | 194 | 4420 | 30 | 221 | 600 | 0 | 10F_UPS